## energy-storage-database
technology	parameter	value	unit	source	type	note	ref_size_MW	EP_ratio_h	year	currency_year	type	carrier_store	carrier_in	carrier_out	p_store_bar	p_in_bar	p_out_bar	t_store_celsius	t_in_celsius	t_out_celsius	purity_store	purity_in	purity_out
Liquid-Air-Energy-Storage	investment			25
Liquid-Air-Energy-Storage	FOM			25
Liquid-Air-Energy-Storage	VOM			25
Liquid-Air-Energy-Storage	lifetime			25
Liquid-Air-Energy-Storage	efficiency			25
Liquid-Air-Energy-Storage	standing_loss			25
Flywheel-Power
Lithium-Ion-LFP-Energy	investment	109.45	$/kWh	25	DC storage block	p.24 (p.46)	10	24	2030
Lithium-Ion-LFP-Energy	investment	27.57	$/kWh	25	DC storage BOS	p.24 (p.46)	10	24	2030
Lithium-Ion-LFP-Power	investment	64.62	$/kW	25	Power Equipment	p.24 (p.46)	10	24	2030
Lithium-Ion-LFP-Power	investment	5.78	$/kW	25	Controll and Communication	p.24 (p.46)	10	24	2030
Lithium-Ion-LFP-Energy	investment	35.19	$/kWh	25	System integration	p.24 (p.46)	10	24	2030
Lithium-Ion-LFP-Energy	investment	42.26	$/kWh	25	EPC	p.24 (p.46)	10	24	2030
Lithium-Ion-LFP-Energy	investment	50.71	$/kWh	25	Project Development	p.24 (p.46)	10	24	2030
Lithium-Ion-LFP-Power	investment	21.05	$/kW	25	Grid integration	p.24 (p.46)	10	24	2030
Lithium-Ion-LFP-Energy	FOM	0.118551	$/kWh		derived	0.43 % of SB	10	24	2030
Lithium-Ion-LFP-Power	FOM	19.386	$/kW		derived	30% assumed of power components every 10 years	10	24	2030
Lithium-Ion-LFP-Energy	decommissioning	0	$/kWh	25		p.24 (p.46)	10	24	2030
Lithium-Ion-LFP-Power	efficiency	0.919347594764896		25	AC-AC efficiency at transformer level, 0.8452^0.5	p.24 (p.46)	10	24	2030
Lithium-Ion-LFP-Power	lifetime	16		25		p.24 (p.46)	10	24	2030
Lithium-Ion-LFP-Energy	lifetime	16		25		p.24 (p.46)	10	24	2030
Lithium-Ion-LFP-Energy	investment	167.25	$/kWh	25	DC storage block	p.24 (p.46)	10	24	2021
Lithium-Ion-LFP-Energy	investment	36.92	$/kWh	25	DC storage BOS	p.24 (p.46)	10	24	2021
Lithium-Ion-LFP-Power	investment	73.05	$/kW	25	Power Equipment	p.24 (p.46)	10	24	2021
Lithium-Ion-LFP-Power	investment	7.75	$/kW	25	Controll and Communication	p.24 (p.46)	10	24	2021
Lithium-Ion-LFP-Energy	investment	41.48	$/kWh	25	System integration	p.24 (p.46)	10	24	2021
Lithium-Ion-LFP-Energy	investment	49.8	$/kWh	25	EPC	p.24 (p.46)	10	24	2021
Lithium-Ion-LFP-Energy	investment	59.76	$/kWh	25	Project Development	p.24 (p.46)	10	24	2021
Lithium-Ion-LFP-Power	investment	24.81	$/kW	25	Grid integration	p.24 (p.46)	10	24	2021
Lithium-Ion-LFP-Energy	FOM	0.158756	$/kWh		derived	0.43 % of SB	10	24	2021
Lithium-Ion-LFP-Power	FOM	21.915	$/kW		derived	30% assumed of power components every 10 years	10	24	2021
Lithium-Ion-LFP-Energy	decommissioning	2.65	$/kWh	25		p.24 (p.46)	10	24	2021
Lithium-Ion-LFP-Power	efficiency	0.908790404878925		25	AC-AC efficiency at transformer level, 0.8259^0.5	p.24 (p.46)	10	24	2021
Lithium-Ion-LFP-Power	lifetime	16		25		p.24 (p.46)	10	24	2021
Lithium-Ion-LFP-Energy	lifetime	16		25		p.24 (p.46)	10	24	2021
Lithium-Ion-NMC-Energy	investment	129.37	$/kWh	25	DC storage block	p.24 (p.46)	10	24	2030
Lithium-Ion-NMC-Energy	investment	26.68	$/kWh	25	DC storage BOS	p.24 (p.46)	10	24	2030
Lithium-Ion-NMC-Power	investment	64.62	$/kW	25	Power Equipment	p.24 (p.46)	10	24	2030
Lithium-Ion-NMC-Power	investment	5.78	$/kW	25	Controll and Communication	p.24 (p.46)	10	24	2030
Lithium-Ion-NMC-Energy	investment	40.16	$/kWh	25	System integration	p.24 (p.46)	10	24	2030
Lithium-Ion-NMC-Energy	investment	48.22	$/kWh	25	EPC	p.24 (p.46)	10	24	2030
Lithium-Ion-NMC-Energy	investment	57.86	$/kWh	25	Project Development	p.24 (p.46)	10	24	2030
Lithium-Ion-NMC-Power	investment	21.05	$/kW	25	Grid integration	p.24 (p.46)	10	24	2030
Lithium-Ion-NMC-Energy	FOM	0.114724	$/kWh	25	derived	0.43 % of SB, =(C38+C39)*0.43/4	10	24	2030
Lithium-Ion-NMC-Power	FOM	19.386	$/kW	25	derived	30% assumed of power components every 10 years, =(C39)*0.3	10	24	2030
Lithium-Ion-NMC-Energy	decommissioning	0	$/kWh	25		p.24 (p.46)	10	24	2030
Lithium-Ion-NMC-Power	efficiency	0.919347594764896		25	AC-AC efficiency at transformer level, 0.8452^0.5	p.24 (p.46)	10	24	2030
Lithium-Ion-NMC-Power	lifetime	13		25		p.24 (p.46)	10	24	2030
Lithium-Ion-NMC-Energy	lifetime	13		25		p.24 (p.46)	10	24	2030
Lithium-Ion-NMC-Energy	investment	197.7	$/kWh	25	DC storage block	p.24 (p.46)	10	24	2021
Lithium-Ion-NMC-Energy	investment	35.73	$/kWh	25	DC storage BOS	p.24 (p.46)	10	24	2021
Lithium-Ion-NMC-Power	investment	73.05	$/kW	25	Power Equipment	p.24 (p.46)	10	24	2021
Lithium-Ion-NMC-Power	investment	7.75	$/kW	25	Controll and Communication	p.24 (p.46)	10	24	2021
Lithium-Ion-NMC-Energy	investment	47.33	$/kWh	25	System integration	p.24 (p.46)	10	24	2021
Lithium-Ion-NMC-Energy	investment	56.82	$/kWh	25	EPC	p.24 (p.46)	10	24	2021
Lithium-Ion-NMC-Energy	investment	68.19	$/kWh	25	Project Development	p.24 (p.46)	10	24	2021
Lithium-Ion-NMC-Power	investment	24.81	$/kW	25	Grid integration	p.24 (p.46)	10	24	2021
Lithium-Ion-NMC-Energy	FOM	0.153639	$/kWh	25	derived	0.43 % of SB	10	24	2021
Lithium-Ion-NMC-Power	FOM	21.915	$/kW	25	derived	30% assumed of power components every 10 years	10	24	2021
Lithium-Ion-NMC-Energy	decommissioning	2.65	$/kWh	25		p.24 (p.46)	10	24	2021
Lithium-Ion-NMC-Power	efficiency	0.908790404878925		25	AC-AC efficiency at transformer level, 0.8259^0.5	p.24 (p.46)	10	24	2021
Lithium-Ion-NMC-Power	lifetime	16		25		p.24 (p.46)	10	24	2021
Lithium-Ion-NMC-Energy	lifetime	16		25		p.24 (p.46)	10	24	2021
Lead-Acid-Energy	investment	212.58	$/kWh	25	DC storage block	p.33 (p.55)	10	24	2030
Lead-Acid-Energy	investment	33.75	$/kWh	25	DC storage BOS	p.33 (p.55)	10	24	2030
Lead-Acid-Power	investment	117.65	$/kW	25	Power Equipment	p.33 (p.55)	10	24	2030
Lead-Acid-Power	investment	5.79	$/kW	25	Controll and Communication	p.33 (p.55)	10	24	2030
Lead-Acid-Energy	investment	32.36	$/kWh	25	System integration	p.33 (p.55)	10	24	2030
Lead-Acid-Energy	investment	35.42	$/kWh	25	EPC	p.33 (p.55)	10	24	2030
Lead-Acid-Energy	investment	45.43	$/kWh	25	Project Development	p.33 (p.55)	10	24	2030
Lead-Acid-Power	investment	21.05	$/kW	25	Grid integration	p.33 (p.55)	10	24	2030
Lead-Acid-Energy	FOM	0.914094	$/kWh	25	derived	0.43 % of SB	10	24	2030
Lead-Acid-Power	FOM	35.295	$/kW	25	derived	30% assumed of power components every 10 years	10	24	2030
Lead-Acid-Energy	decommissioning	12.04	$/kWh	25		p.33 (p.55)	10	24	2030
Lead-Acid-Power	efficiency	0.888819441731559		25	AC-AC efficiency at transformer level, 0.8452^0.5	p.33 (p.55)	10	24	2030
Lead-Acid-Power	lifetime	12		25		p.33 (p.55)	10	24	2030
Lead-Acid-Energy	lifetime	12		25		p.33 (p.55)	10	24	2030
Lead-Acid-Energy	investment	225.98	$/kWh	25	DC storage block	p.33 (p.55)	10	24	2021
Lead-Acid-Energy	investment	45.2	$/kWh	25	DC storage BOS	p.33 (p.55)	10	24	2021
Lead-Acid-Power	investment	133	$/kW	25	Power Equipment	p.33 (p.55)	10	24	2021
Lead-Acid-Power	investment	7.75	$/kW	25	Controll and Communication	p.33 (p.55)	10	24	2021
Lead-Acid-Energy	investment	38.14	$/kWh	25	System integration	p.33 (p.55)	10	24	2021
Lead-Acid-Energy	investment	41.75	$/kWh	25	EPC	p.33 (p.55)	10	24	2021
Lead-Acid-Energy	investment	53.54	$/kWh	25	Project Development	p.33 (p.55)	10	24	2021
Lead-Acid-Power	investment	24.81	$/kW	25	Grid integration	p.33 (p.55)	10	24	2021
Lead-Acid-Energy	FOM	0.971714	$/kWh	25	derived	0.43 % of SB	10	24	2021
Lead-Acid-Power	FOM	39.9	$/kW	25	derived	30% assumed of power components every 10 years	10	24	2021
Lead-Acid-Energy	decommissioning	16.89	$/kWh	25		p.33 (p.55)	10	24	2021
Lead-Acid-Power	efficiency	0.888819441731559		25	AC-AC efficiency at transformer level, 0.8259^0.5	p.33 (p.55)	10	24	2021
Lead-Acid-Power	lifetime	12		25		p.33 (p.55)	10	24	2021
Lead-Acid-Energy	lifetime	12		25		p.33 (p.55)	10	24	2021
Vanadium-Redox-Flow-Energy	investment	157.79	$/kWh	25	DC storage block	p.42 (p.64)	10	24	2030
Vanadium-Redox-Flow-Energy	investment	28.35	$/kWh	25	DC storage BOS	p.42 (p.64)	10	24	2030
Vanadium-Redox-Flow-Power	investment	117.65	$/kW	25	Power Equipment	p.42 (p.64)	10	24	2030
Vanadium-Redox-Flow-Power	investment	5.82	$/kW	25	Controll and Communication	p.42 (p.64)	10	24	2030
Vanadium-Redox-Flow-Energy	investment	29.72	$/kWh	25	System integration	p.42 (p.64)	10	24	2030
Vanadium-Redox-Flow-Energy	investment	34.2	$/kWh	25	EPC	p.42 (p.64)	10	24	2030
Vanadium-Redox-Flow-Energy	investment	39.33	$/kWh	25	Project Development	p.42 (p.64)	10	24	2030
Vanadium-Redox-Flow-Power	investment	21.21	$/kW	25	Grid integration	p.42 (p.64)	10	24	2030
Vanadium-Redox-Flow-Energy	FOM	0.678497	$/kWh	25	derived	0.43 % of SB	10	24	2030
Vanadium-Redox-Flow-Power	FOM	35.295	$/kW	25	derived	30% assumed of power components every 10 years	10	24	2030
Vanadium-Redox-Flow-Energy	decommissioning	19.77	$/kWh	25		p.42 (p.64)	10	24	2030
Vanadium-Redox-Flow-Power	efficiency	0.806225774829855		25	AC-AC efficiency at transformer level, 0.8452^0.5	p.42 (p.64)	10	24	2030
Vanadium-Redox-Flow-Power	lifetime	12		25		p.42 (p.64)	10	24	2030
Vanadium-Redox-Flow-Energy	lifetime	12		25		p.42 (p.64)	10	24	2030
Vanadium-Redox-Flow-Energy	investment	189.83	$/kWh	25	DC storage block	p.42 (p.64)	10	24	2021
Vanadium-Redox-Flow-Energy	investment	37.97	$/kWh	25	DC storage BOS	p.42 (p.64)	10	24	2021
Vanadium-Redox-Flow-Power	investment	133	$/kW	25	Power Equipment	p.42 (p.64)	10	24	2021
Vanadium-Redox-Flow-Power	investment	7.8	$/kW	25	Controll and Communication	p.42 (p.64)	10	24	2021
Vanadium-Redox-Flow-Energy	investment	35.03	$/kWh	25	System integration	p.42 (p.64)	10	24	2021
Vanadium-Redox-Flow-Energy	investment	40.3	$/kWh	25	EPC	p.42 (p.64)	10	24	2021
Vanadium-Redox-Flow-Energy	investment	46.35	$/kWh	25	Project Development	p.42 (p.64)	10	24	2021
Vanadium-Redox-Flow-Power	investment	25	$/kW	25	Grid integration	p.42 (p.64)	10	24	2021
Vanadium-Redox-Flow-Energy	FOM	0.816269	$/kWh	25	derived	0.43 % of SB	10	24	2021
Vanadium-Redox-Flow-Power	FOM	39.9	$/kW	25	derived	30% assumed of power components every 10 years	10	24	2021
Vanadium-Redox-Flow-Energy	decommissioning	22.95	$/kWh	25		p.42 (p.64)	10	24	2021
Vanadium-Redox-Flow-Power	efficiency	0.806225774829855		25	AC-AC efficiency at transformer level, 0.8259^0.5	p.42 (p.64)	10	24	2021
Vanadium-Redox-Flow-Power	lifetime	12		25		p.42 (p.64)	10	24	2021
Vanadium-Redox-Flow-Energy	lifetime	12		25		p.42 (p.64)	10	24	2021
Ni-Zn-Energy	investment	157.79	$/kWh	25	DC storage block	p.59 (p.81)	10	24	2030
Ni-Zn-Energy	investment	28.35	$/kWh	25	DC storage BOS	p.59 (p.81)	10	24	2030
Ni-Zn-Power	investment	117.65	$/kW	25	Power Equipment	p.59 (p.81)	10	24	2030
Ni-Zn-Power	investment	5.82	$/kW	25	Controll and Communication	p.59 (p.81)	10	24	2030
Ni-Zn-Energy	investment	29.72	$/kWh	25	System integration	p.59 (p.81)	10	24	2030
Ni-Zn-Energy	investment	34.2	$/kWh	25	EPC	p.59 (p.81)	10	24	2030
Ni-Zn-Energy	investment	39.33	$/kWh	25	Project Development	p.59 (p.81)	10	24	2030
Ni-Zn-Power	investment	21.21	$/kW	25	Grid integration	p.59 (p.81)	10	24	2030
Ni-Zn-Energy	FOM	0.678497	$/kWh	25	derived	0.43 % of SB	10	24	2030
Ni-Zn-Power	FOM	35.295	$/kW	25	derived	30% assumed of power components every 10 years	10	24	2030
Ni-Zn-Energy	decommissioning	19.77	$/kWh	25		p.59 (p.81)	10	24	2030
Ni-Zn-Power	efficiency	0.806225774829855		25	AC-AC efficiency at transformer level, 0.8452^0.5	p.59 (p.81)	10	24	2030
Ni-Zn-Power	lifetime	12		25		p.59 (p.81)	10	24	2030
Ni-Zn-Energy	lifetime	12		25		p.59 (p.81)	10	24	2030
Ni-Zn-Energy	investment	157.79	$/kWh	25	DC storage block	p.59 (p.81)	10	24	2021
Ni-Zn-Energy	investment	28.35	$/kWh	25	DC storage BOS	p.59 (p.81)	10	24	2021
Ni-Zn-Power	investment	117.65	$/kW	25	Power Equipment	p.59 (p.81)	10	24	2021
Ni-Zn-Power	investment	5.82	$/kW	25	Controll and Communication	p.59 (p.81)	10	24	2021
Ni-Zn-Energy	investment	29.72	$/kWh	25	System integration	p.59 (p.81)	10	24	2021
Ni-Zn-Energy	investment	34.2	$/kWh	25	EPC	p.59 (p.81)	10	24	2021
Ni-Zn-Energy	investment	39.33	$/kWh	25	Project Development	p.59 (p.81)	10	24	2021
Ni-Zn-Power	investment	21.21	$/kW	25	Grid integration	p.59 (p.81)	10	24	2021
Ni-Zn-Energy	FOM	0.678497	$/kWh	25	derived	0.43 % of SB	10	24	2021
Ni-Zn-Power	FOM	35.295	$/kW	25	derived	30% assumed of power components every 10 years	10	24	2021
Ni-Zn-Energy	decommissioning	19.77	$/kWh	25		p.59 (p.81)	10	24	2021
Ni-Zn-Power	efficiency	0.806225774829855		25	AC-AC efficiency at transformer level, 0.8452^0.5	p.59 (p.81)	10	24	2021
Ni-Zn-Power	lifetime	12		25		p.59 (p.81)	10	24	2021
Ni-Zn-Energy	lifetime	12		25		p.59 (p.81)	10	24	2021
Zn-Br-Flow-Energy	investment	157.79	$/kWh	25	DC storage block	p.59 (p.81)	10	24	2030
Zn-Br-Flow-Energy	investment	28.35	$/kWh	25	DC storage BOS	p.59 (p.81)	10	24	2030
Zn-Br-Flow-Power	investment	117.65	$/kW	25	Power Equipment	p.59 (p.81)	10	24	2030
Zn-Br-Flow-Power	investment	5.82	$/kW	25	Controll and Communication	p.59 (p.81)	10	24	2030
Zn-Br-Flow-Energy	investment	29.72	$/kWh	25	System integration	p.59 (p.81)	10	24	2030
Zn-Br-Flow-Energy	investment	34.2	$/kWh	25	EPC	p.59 (p.81)	10	24	2030
Zn-Br-Flow-Energy	investment	39.33	$/kWh	25	Project Development	p.59 (p.81)	10	24	2030
Zn-Br-Flow-Power	investment	21.21	$/kW	25	Grid integration	p.59 (p.81)	10	24	2030
Zn-Br-Flow-Energy	FOM	0.678497	$/kWh	25	derived	0.43 % of SB	10	24	2030
Zn-Br-Flow-Power	FOM	35.295	$/kW	25	derived	30% assumed of power components every 10 years	10	24	2030
Zn-Br-Flow-Energy	decommissioning	19.77	$/kWh	25		p.59 (p.81)	10	24	2030
Zn-Br-Flow-Power	efficiency	0.806225774829855		25	AC-AC efficiency at transformer level, 0.8452^0.5	p.59 (p.81)	10	24	2030
Zn-Br-Flow-Power	lifetime	12		25		p.59 (p.81)	10	24	2030
Zn-Br-Flow-Energy	lifetime	12		25		p.59 (p.81)	10	24	2030
Zn-Br-Flow-Energy	investment	157.79	$/kWh	25	DC storage block	p.59 (p.81)	10	24	2021
Zn-Br-Flow-Energy	investment	28.35	$/kWh	25	DC storage BOS	p.59 (p.81)	10	24	2021
Zn-Br-Flow-Power	investment	117.65	$/kW	25	Power Equipment	p.59 (p.81)	10	24	2021
Zn-Br-Flow-Power	investment	5.82	$/kW	25	Controll and Communication	p.59 (p.81)	10	24	2021
Zn-Br-Flow-Energy	investment	29.72	$/kWh	25	System integration	p.59 (p.81)	10	24	2021
Zn-Br-Flow-Energy	investment	34.2	$/kWh	25	EPC	p.59 (p.81)	10	24	2021
Zn-Br-Flow-Energy	investment	39.33	$/kWh	25	Project Development	p.59 (p.81)	10	24	2021
Zn-Br-Flow-Power	investment	21.21	$/kW	25	Grid integration	p.59 (p.81)	10	24	2021
Zn-Br-Flow-Energy	FOM	0.678497	$/kWh	25	derived	0.43 % of SB	10	24	2021
Zn-Br-Flow-Power	FOM	35.295	$/kW	25	derived	30% assumed of power components every 10 years	10	24	2021
Zn-Br-Flow-Energy	decommissioning	19.77	$/kWh	25		p.59 (p.81)	10	24	2021
Zn-Br-Flow-Power	efficiency	0.806225774829855		25	AC-AC efficiency at transformer level, 0.8452^0.5	p.59 (p.81)	10	24	2021
Zn-Br-Flow-Power	lifetime	12		25		p.59 (p.81)	10	24	2021
Zn-Br-Flow-Energy	lifetime	12		25		p.59 (p.81)	10	24	2021
Zn-Br-Nonflow-Energy	investment	157.79	$/kWh	25	DC storage block	p.59 (p.81)	10	24	2030
Zn-Br-Nonflow-Energy	investment	28.35	$/kWh	25	DC storage BOS	p.59 (p.81)	10	24	2030
Zn-Br-Nonflow-Power	investment	117.65	$/kW	25	Power Equipment	p.59 (p.81)	10	24	2030
Zn-Br-Nonflow-Power	investment	5.82	$/kW	25	Controll and Communication	p.59 (p.81)	10	24	2030
Zn-Br-Nonflow-Energy	investment	29.72	$/kWh	25	System integration	p.59 (p.81)	10	24	2030
Zn-Br-Nonflow-Energy	investment	34.2	$/kWh	25	EPC	p.59 (p.81)	10	24	2030
Zn-Br-Nonflow-Energy	investment	39.33	$/kWh	25	Project Development	p.59 (p.81)	10	24	2030
Zn-Br-Nonflow-Power	investment	21.21	$/kW	25	Grid integration	p.59 (p.81)	10	24	2030
Zn-Br-Nonflow-Energy	FOM	0.678497	$/kWh	25	derived	0.43 % of SB	10	24	2030
Zn-Br-Nonflow-Power	FOM	35.295	$/kW	25	derived	30% assumed of power components every 10 years	10	24	2030
Zn-Br-Nonflow-Energy	decommissioning	19.77	$/kWh	25		p.59 (p.81)	10	24	2030
Zn-Br-Nonflow-Power	efficiency	0.806225774829855		25	AC-AC efficiency at transformer level, 0.8452^0.5	p.59 (p.81)	10	24	2030
Zn-Br-Nonflow-Power	lifetime	12		25		p.59 (p.81)	10	24	2030
Zn-Br-Nonflow-Energy	lifetime	12		25		p.59 (p.81)	10	24	2030
Zn-Br-Nonflow-Energy	investment	157.79	$/kWh	25	DC storage block	p.59 (p.81)	10	24	2021
Zn-Br-Nonflow-Energy	investment	28.35	$/kWh	25	DC storage BOS	p.59 (p.81)	10	24	2021
Zn-Br-Nonflow-Power	investment	117.65	$/kW	25	Power Equipment	p.59 (p.81)	10	24	2021
Zn-Br-Nonflow-Power	investment	5.82	$/kW	25	Controll and Communication	p.59 (p.81)	10	24	2021
Zn-Br-Nonflow-Energy	investment	29.72	$/kWh	25	System integration	p.59 (p.81)	10	24	2021
Zn-Br-Nonflow-Energy	investment	34.2	$/kWh	25	EPC	p.59 (p.81)	10	24	2021
Zn-Br-Nonflow-Energy	investment	39.33	$/kWh	25	Project Development	p.59 (p.81)	10	24	2021
Zn-Br-Nonflow-Power	investment	21.21	$/kW	25	Grid integration	p.59 (p.81)	10	24	2021
Zn-Br-Nonflow-Energy	FOM	0.678497	$/kWh	25	derived	0.43 % of SB	10	24	2021
Zn-Br-Nonflow-Power	FOM	35.295	$/kW	25	derived	30% assumed of power components every 10 years	10	24	2021
Zn-Br-Nonflow-Energy	decommissioning	19.77	$/kWh	25		p.59 (p.81)	10	24	2021
Zn-Br-Nonflow-Power	efficiency	0.806225774829855		25	AC-AC efficiency at transformer level, 0.8452^0.5	p.59 (p.81)	10	24	2021
Zn-Br-Nonflow-Power	lifetime	12		25		p.59 (p.81)	10	24	2021
Zn-Br-Nonflow-Energy	lifetime	12		25		p.59 (p.81)	10	24	2021
Zn-Air-Energy	investment	157.79	$/kWh	25	DC storage block	p.59 (p.81)	10	24	2030
Zn-Air-Energy	investment	28.35	$/kWh	25	DC storage BOS	p.59 (p.81)	10	24	2030
Zn-Air-Power	investment	117.65	$/kW	25	Power Equipment	p.59 (p.81)	10	24	2030
Zn-Air-Power	investment	5.82	$/kW	25	Controll and Communication	p.59 (p.81)	10	24	2030
Zn-Air-Energy	investment	29.72	$/kWh	25	System integration	p.59 (p.81)	10	24	2030
Zn-Air-Energy	investment	34.2	$/kWh	25	EPC	p.59 (p.81)	10	24	2030
Zn-Air-Energy	investment	39.33	$/kWh	25	Project Development	p.59 (p.81)	10	24	2030
Zn-Air-Power	investment	21.21	$/kW	25	Grid integration	p.59 (p.81)	10	24	2030
Zn-Air-Energy	FOM	0.678497	$/kWh	25	derived	0.43 % of SB	10	24	2030
Zn-Air-Power	FOM	35.295	$/kW	25	derived	30% assumed of power components every 10 years	10	24	2030
Zn-Air-Energy	decommissioning	19.77	$/kWh	25		p.59 (p.81)	10	24	2030
Zn-Air-Power	efficiency	0.806225774829855		25	AC-AC efficiency at transformer level, 0.8452^0.5	p.59 (p.81)	10	24	2030
Zn-Air-Power	lifetime	12		25		p.59 (p.81)	10	24	2030
Zn-Air-Energy	lifetime	12		25		p.59 (p.81)	10	24	2030
Zn-Air-Energy	investment	157.79	$/kWh	25	DC storage block	p.59 (p.81)	10	24	2021
Zn-Air-Energy	investment	28.35	$/kWh	25	DC storage BOS	p.59 (p.81)	10	24	2021
Zn-Air-Power	investment	117.65	$/kW	25	Power Equipment	p.59 (p.81)	10	24	2021
Zn-Air-Power	investment	5.82	$/kW	25	Controll and Communication	p.59 (p.81)	10	24	2021
Zn-Air-Energy	investment	29.72	$/kWh	25	System integration	p.59 (p.81)	10	24	2021
Zn-Air-Energy	investment	34.2	$/kWh	25	EPC	p.59 (p.81)	10	24	2021
Zn-Air-Energy	investment	39.33	$/kWh	25	Project Development	p.59 (p.81)	10	24	2021
Zn-Air-Power	investment	21.21	$/kW	25	Grid integration	p.59 (p.81)	10	24	2021
Zn-Air-Energy	FOM	0.678497	$/kWh	25	derived	0.43 % of SB	10	24	2021
Zn-Air-Power	FOM	35.295	$/kW	25	derived	30% assumed of power components every 10 years	10	24	2021
Zn-Air-Energy	decommissioning	19.77	$/kWh	25		p.59 (p.81)	10	24	2021
Zn-Air-Power	efficiency	0.806225774829855		25	AC-AC efficiency at transformer level, 0.8452^0.5	p.59 (p.81)	10	24	2021
Zn-Air-Power	lifetime	12		25		p.59 (p.81)	10	24	2021
Zn-Air-Energy	lifetime	12		25		p.59 (p.81)	10	24	2021
Compressed-Air-Adiabatic-Energy	investment	157.79	$/kWh	25	DC storage block	p.59 (p.81)	10	24	2030
Compressed-Air-Adiabatic-Energy	investment	28.35	$/kWh	25	DC storage BOS	p.59 (p.81)	10	24	2030
Compressed-Air-Adiabatic-Power	investment	117.65	$/kW	25	Power Equipment	p.59 (p.81)	10	24	2030
Compressed-Air-Adiabatic-Power	investment	5.82	$/kW	25	Controll and Communication	p.59 (p.81)	10	24	2030
Compressed-Air-Adiabatic-Energy	investment	29.72	$/kWh	25	System integration	p.59 (p.81)	10	24	2030
Compressed-Air-Adiabatic-Energy	investment	34.2	$/kWh	25	EPC	p.59 (p.81)	10	24	2030
Compressed-Air-Adiabatic-Energy	investment	39.33	$/kWh	25	Project Development	p.59 (p.81)	10	24	2030
Compressed-Air-Adiabatic-Power	investment	21.21	$/kW	25	Grid integration	p.59 (p.81)	10	24	2030
Compressed-Air-Adiabatic-Energy	FOM	0.678497	$/kWh	25	derived	0.43 % of SB	10	24	2030
Compressed-Air-Adiabatic-Power	FOM	35.295	$/kW	25	derived	30% assumed of power components every 10 years	10	24	2030
Compressed-Air-Adiabatic-Energy	decommissioning	19.77	$/kWh	25		p.59 (p.81)	10	24	2030
Compressed-Air-Adiabatic-Power	efficiency	0.806225774829855		25	AC-AC efficiency at transformer level, 0.8452^0.5	p.59 (p.81)	10	24	2030
Compressed-Air-Adiabatic-Power	lifetime	12		25		p.59 (p.81)	10	24	2030
Compressed-Air-Adiabatic-Energy	lifetime	12		25		p.59 (p.81)	10	24	2030
Compressed-Air-Adiabatic-Energy	investment	157.79	$/kWh	25	DC storage block	p.59 (p.81)	10	24	2021
Compressed-Air-Adiabatic-Energy	investment	28.35	$/kWh	25	DC storage BOS	p.59 (p.81)	10	24	2021
Compressed-Air-Adiabatic-Power	investment	117.65	$/kW	25	Power Equipment	p.59 (p.81)	10	24	2021
Compressed-Air-Adiabatic-Power	investment	5.82	$/kW	25	Controll and Communication	p.59 (p.81)	10	24	2021
Compressed-Air-Adiabatic-Energy	investment	29.72	$/kWh	25	System integration	p.59 (p.81)	10	24	2021
Compressed-Air-Adiabatic-Energy	investment	34.2	$/kWh	25	EPC	p.59 (p.81)	10	24	2021
Compressed-Air-Adiabatic-Energy	investment	39.33	$/kWh	25	Project Development	p.59 (p.81)	10	24	2021
Compressed-Air-Adiabatic-Power	investment	21.21	$/kW	25	Grid integration	p.59 (p.81)	10	24	2021
Compressed-Air-Adiabatic-Energy	FOM	20.01	$/kWh	25	derived	0.43 % of SB	10	24	2021
Compressed-Air-Adiabatic-Power	FOM	43.4	$/kW	25	derived	30% assumed of power components every 10 years	10	24	2021
Compressed-Air-Adiabatic-Energy	decommissioning	19.77	$/kWh	25		p.59 (p.81)	10	24	2021
Compressed-Air-Adiabatic-Power	efficiency	0.806225774829855		25	AC-AC efficiency at transformer level, 0.8452^0.5	p.59 (p.81)	10	24	2021
Compressed-Air-Adiabatic-Power	lifetime	12		25		p.59 (p.81)	10	24	2021
Compressed-Air-Adiabatic-Energy	lifetime	12		25		p.59 (p.81)	10	24	2021
Pumped-Storage-Hydro-Energy	investment	157.79	$/kWh	25	DC storage block	p.59 (p.81)	10	24	2030
Pumped-Storage-Hydro-Energy	investment	28.35	$/kWh	25	DC storage BOS	p.59 (p.81)	10	24	2030
Pumped-Storage-Hydro-Power	investment	117.65	$/kW	25	Power Equipment	p.59 (p.81)	10	24	2030
Pumped-Storage-Hydro-Power	investment	5.82	$/kW	25	Controll and Communication	p.59 (p.81)	10	24	2030
Pumped-Storage-Hydro-Energy	investment	29.72	$/kWh	25	System integration	p.59 (p.81)	10	24	2030
Pumped-Storage-Hydro-Energy	investment	34.2	$/kWh	25	EPC	p.59 (p.81)	10	24	2030
Pumped-Storage-Hydro-Energy	investment	39.33	$/kWh	25	Project Development	p.59 (p.81)	10	24	2030
Pumped-Storage-Hydro-Power	investment	21.21	$/kW	25	Grid integration	p.59 (p.81)	10	24	2030
Pumped-Storage-Hydro-Energy	FOM	0.678497	$/kWh	25	derived	0.43 % of SB	10	24	2030
Pumped-Storage-Hydro-Power	FOM	35.295	$/kW	25	derived	30% assumed of power components every 10 years	10	24	2030
Pumped-Storage-Hydro-Energy	decommissioning	19.77	$/kWh	25		p.59 (p.81)	10	24	2030
Pumped-Storage-Hydro-Power	efficiency	0.806225774829855		25	AC-AC efficiency at transformer level, 0.8452^0.5	p.59 (p.81)	10	24	2030
Pumped-Storage-Hydro-Power	lifetime	12		25		p.59 (p.81)	10	24	2030
Pumped-Storage-Hydro-Energy	lifetime	12		25		p.59 (p.81)	10	24	2030
Pumped-Storage-Hydro-Energy	investment	157.79	$/kWh	25	DC storage block	p.59 (p.81)	10	24	2021
Pumped-Storage-Hydro-Energy	investment	28.35	$/kWh	25	DC storage BOS	p.59 (p.81)	10	24	2021
Pumped-Storage-Hydro-Power	investment	117.65	$/kW	25	Power Equipment	p.59 (p.81)	10	24	2021
Pumped-Storage-Hydro-Power	investment	5.82	$/kW	25	Controll and Communication	p.59 (p.81)	10	24	2021
Pumped-Storage-Hydro-Energy	investment	29.72	$/kWh	25	System integration	p.59 (p.81)	10	24	2021
Pumped-Storage-Hydro-Energy	investment	34.2	$/kWh	25	EPC	p.59 (p.81)	10	24	2021
Pumped-Storage-Hydro-Energy	investment	39.33	$/kWh	25	Project Development	p.59 (p.81)	10	24	2021
Pumped-Storage-Hydro-Power	investment	21.21	$/kW	25	Grid integration	p.59 (p.81)	10	24	2021
Pumped-Storage-Hydro-Energy	FOM	20.01	$/kWh	25	derived	0.43 % of SB	10	24	2021
Pumped-Storage-Hydro-Power	FOM	43.4	$/kW	25	derived	30% assumed of power components every 10 years	10	24	2021
Pumped-Storage-Hydro-Energy	decommissioning	19.77	$/kWh	25		p.59 (p.81)	10	24	2021
Pumped-Storage-Hydro-Power	efficiency	0.806225774829855		25	AC-AC efficiency at transformer level, 0.8452^0.5	p.59 (p.81)	10	24	2021
Pumped-Storage-Hydro-Power	lifetime	12		25		p.59 (p.81)	10	24	2021
Pumped-Storage-Hydro-Energy	lifetime	12		25		p.59 (p.81)	10	24	2021
Gravity-Brick-Energy	investment	157.79	$/kWh	25	DC storage block	p.59 (p.81)	10	24	2030
Gravity-Brick-Energy	investment	28.35	$/kWh	25	DC storage BOS	p.59 (p.81)	10	24	2030
Gravity-Brick-Power	investment	117.65	$/kW	25	Power Equipment	p.59 (p.81)	10	24	2030
Gravity-Brick-Power	investment	5.82	$/kW	25	Controll and Communication	p.59 (p.81)	10	24	2030
Gravity-Brick-Energy	investment	29.72	$/kWh	25	System integration	p.59 (p.81)	10	24	2030
Gravity-Brick-Energy	investment	34.2	$/kWh	25	EPC	p.59 (p.81)	10	24	2030
Gravity-Brick-Energy	investment	39.33	$/kWh	25	Project Development	p.59 (p.81)	10	24	2030
Gravity-Brick-Power	investment	21.21	$/kW	25	Grid integration	p.59 (p.81)	10	24	2030
Gravity-Brick-Energy	FOM	0.678497	$/kWh	25	derived	0.43 % of SB	10	24	2030
Gravity-Brick-Power	FOM	35.295	$/kW	25	derived	30% assumed of power components every 10 years	10	24	2030
Gravity-Brick-Energy	decommissioning	19.77	$/kWh	25		p.59 (p.81)	10	24	2030
Gravity-Brick-Power	efficiency	0.806225774829855		25	AC-AC efficiency at transformer level, 0.8452^0.5	p.59 (p.81)	10	24	2030
Gravity-Brick-Power	lifetime	12		25		p.59 (p.81)	10	24	2030
Gravity-Brick-Energy	lifetime	12		25		p.59 (p.81)	10	24	2030
Gravity-Brick-Energy	investment	157.79	$/kWh	25	DC storage block	p.59 (p.81)	10	24	2021
Gravity-Brick-Energy	investment	28.35	$/kWh	25	DC storage BOS	p.59 (p.81)	10	24	2021
Gravity-Brick-Power	investment	117.65	$/kW	25	Power Equipment	p.59 (p.81)	10	24	2021
Gravity-Brick-Power	investment	5.82	$/kW	25	Controll and Communication	p.59 (p.81)	10	24	2021
Gravity-Brick-Energy	investment	29.72	$/kWh	25	System integration	p.59 (p.81)	10	24	2021
Gravity-Brick-Energy	investment	34.2	$/kWh	25	EPC	p.59 (p.81)	10	24	2021
Gravity-Brick-Energy	investment	39.33	$/kWh	25	Project Development	p.59 (p.81)	10	24	2021
Gravity-Brick-Power	investment	21.21	$/kW	25	Grid integration	p.59 (p.81)	10	24	2021
Gravity-Brick-Energy	FOM	0.678497	$/kWh	25	derived	0.43 % of SB	10	24	2021
Gravity-Brick-Power	FOM	35.295	$/kW	25	derived	30% assumed of power components every 10 years	10	24	2021
Gravity-Brick-Energy	decommissioning	19.77	$/kWh	25		p.59 (p.81)	10	24	2021
Gravity-Brick-Power	efficiency	0.806225774829855		25	AC-AC efficiency at transformer level, 0.8452^0.5	p.59 (p.81)	10	24	2021
Gravity-Brick-Power	lifetime	12		25		p.59 (p.81)	10	24	2021
Gravity-Brick-Energy	lifetime	12		25		p.59 (p.81)	10	24	2021
Gravity-Water-Aboveground-Energy	investment	157.79	$/kWh	25	DC storage block	p.59 (p.81)	10	24	2030
Gravity-Water-Aboveground-Energy	investment	28.35	$/kWh	25	DC storage BOS	p.59 (p.81)	10	24	2030
Gravity-Water-Aboveground-Power	investment	117.65	$/kW	25	Power Equipment	p.59 (p.81)	10	24	2030
Gravity-Water-Aboveground-Power	investment	5.82	$/kW	25	Controll and Communication	p.59 (p.81)	10	24	2030
Gravity-Water-Aboveground-Energy	investment	29.72	$/kWh	25	System integration	p.59 (p.81)	10	24	2030
Gravity-Water-Aboveground-Energy	investment	34.2	$/kWh	25	EPC	p.59 (p.81)	10	24	2030
Gravity-Water-Aboveground-Energy	investment	39.33	$/kWh	25	Project Development	p.59 (p.81)	10	24	2030
Gravity-Water-Aboveground-Power	investment	21.21	$/kW	25	Grid integration	p.59 (p.81)	10	24	2030
Gravity-Water-Aboveground-Energy	FOM	0.678497	$/kWh	25	derived	0.43 % of SB	10	24	2030
Gravity-Water-Aboveground-Power	FOM	35.295	$/kW	25	derived	30% assumed of power components every 10 years	10	24	2030
Gravity-Water-Aboveground-Energy	decommissioning	19.77	$/kWh	25		p.59 (p.81)	10	24	2030
Gravity-Water-Aboveground-Power	efficiency	0.806225774829855		25	AC-AC efficiency at transformer level, 0.8452^0.5	p.59 (p.81)	10	24	2030
Gravity-Water-Aboveground-Power	lifetime	12		25		p.59 (p.81)	10	24	2030
Gravity-Water-Aboveground-Energy	lifetime	12		25		p.59 (p.81)	10	24	2030
Gravity-Water-Aboveground-Energy	investment	157.79	$/kWh	25	DC storage block	p.59 (p.81)	10	24	2021
Gravity-Water-Aboveground-Energy	investment	28.35	$/kWh	25	DC storage BOS	p.59 (p.81)	10	24	2021
Gravity-Water-Aboveground-Power	investment	117.65	$/kW	25	Power Equipment	p.59 (p.81)	10	24	2021
Gravity-Water-Aboveground-Power	investment	5.82	$/kW	25	Controll and Communication	p.59 (p.81)	10	24	2021
Gravity-Water-Aboveground-Energy	investment	29.72	$/kWh	25	System integration	p.59 (p.81)	10	24	2021
Gravity-Water-Aboveground-Energy	investment	34.2	$/kWh	25	EPC	p.59 (p.81)	10	24	2021
Gravity-Water-Aboveground-Energy	investment	39.33	$/kWh	25	Project Development	p.59 (p.81)	10	24	2021
Gravity-Water-Aboveground-Power	investment	21.21	$/kW	25	Grid integration	p.59 (p.81)	10	24	2021
Gravity-Water-Aboveground-Energy	FOM	0.678497	$/kWh	25	derived	0.43 % of SB	10	24	2021
Gravity-Water-Aboveground-Power	FOM	35.295	$/kW	25	derived	30% assumed of power components every 10 years	10	24	2021
Gravity-Water-Aboveground-Energy	decommissioning	19.77	$/kWh	25		p.59 (p.81)	10	24	2021
Gravity-Water-Aboveground-Power	efficiency	0.806225774829855		25	AC-AC efficiency at transformer level, 0.8452^0.5	p.59 (p.81)	10	24	2021
Gravity-Water-Aboveground-Power	lifetime	12		25		p.59 (p.81)	10	24	2021
Gravity-Water-Aboveground-Energy	lifetime	12		25		p.59 (p.81)	10	24	2021
Gravity-Water-Underground-Energy	investment	157.79	$/kWh	25	DC storage block	p.59 (p.81)	10	24	2030
Gravity-Water-Underground-Energy	investment	28.35	$/kWh	25	DC storage BOS	p.59 (p.81)	10	24	2030
Gravity-Water-Underground-Power	investment	117.65	$/kW	25	Power Equipment	p.59 (p.81)	10	24	2030
Gravity-Water-Underground-Power	investment	5.82	$/kW	25	Controll and Communication	p.59 (p.81)	10	24	2030
Gravity-Water-Underground-Energy	investment	29.72	$/kWh	25	System integration	p.59 (p.81)	10	24	2030
Gravity-Water-Underground-Energy	investment	34.2	$/kWh	25	EPC	p.59 (p.81)	10	24	2030
Gravity-Water-Underground-Energy	investment	39.33	$/kWh	25	Project Development	p.59 (p.81)	10	24	2030
Gravity-Water-Underground-Power	investment	21.21	$/kW	25	Grid integration	p.59 (p.81)	10	24	2030
Gravity-Water-Underground-Energy	FOM	0.678497	$/kWh	25	derived	0.43 % of SB	10	24	2030
Gravity-Water-Underground-Power	FOM	35.295	$/kW	25	derived	30% assumed of power components every 10 years	10	24	2030
Gravity-Water-Underground-Energy	decommissioning	19.77	$/kWh	25		p.59 (p.81)	10	24	2030
Gravity-Water-Underground-Power	efficiency	0.806225774829855		25	AC-AC efficiency at transformer level, 0.8452^0.5	p.59 (p.81)	10	24	2030
Gravity-Water-Underground-Power	lifetime	12		25		p.59 (p.81)	10	24	2030
Gravity-Water-Underground-Energy	lifetime	12		25		p.59 (p.81)	10	24	2030
Gravity-Water-Underground-Energy	investment	157.79	$/kWh	25	DC storage block	p.59 (p.81)	10	24	2021
Gravity-Water-Underground-Energy	investment	28.35	$/kWh	25	DC storage BOS	p.59 (p.81)	10	24	2021
Gravity-Water-Underground-Power	investment	117.65	$/kW	25	Power Equipment	p.59 (p.81)	10	24	2021
Gravity-Water-Underground-Power	investment	5.82	$/kW	25	Controll and Communication	p.59 (p.81)	10	24	2021
Gravity-Water-Underground-Energy	investment	29.72	$/kWh	25	System integration	p.59 (p.81)	10	24	2021
Gravity-Water-Underground-Energy	investment	34.2	$/kWh	25	EPC	p.59 (p.81)	10	24	2021
Gravity-Water-Underground-Energy	investment	39.33	$/kWh	25	Project Development	p.59 (p.81)	10	24	2021
Gravity-Water-Underground-Power	investment	21.21	$/kW	25	Grid integration	p.59 (p.81)	10	24	2021
Gravity-Water-Underground-Energy	FOM	0.678497	$/kWh	25	derived	0.43 % of SB	10	24	2021
Gravity-Water-Underground-Power	FOM	35.295	$/kW	25	derived	30% assumed of power components every 10 years	10	24	2021
Gravity-Water-Underground-Energy	decommissioning	19.77	$/kWh	25		p.59 (p.81)	10	24	2021
Gravity-Water-Underground-Power	efficiency	0.806225774829855		25	AC-AC efficiency at transformer level, 0.8452^0.5	p.59 (p.81)	10	24	2021
Gravity-Water-Underground-Power	lifetime	12		25		p.59 (p.81)	10	24	2021
Gravity-Water-Underground-Energy	lifetime	12		25		p.59 (p.81)	10	24	2021
Hydrogen-Power	investment	425	$/kW	25	Fuel Cell	p.113 (p.135)	10	24	2030
Hydrogen-Power	investment	350	$/kW	25	Electrolyzer	p.113 (p.135)	10	24	2030
Hydrogen-Power	investment	5.36	$/kWh	25	Cavern Storage	p.113 (p.135)	10	24	2030
Hydrogen-Power	investment	39.3	$/kW	25	Compressor	p.113 (p.135)	10	24	2030
Hydrogen-Energy	investment	39	$/kW	25	Inverter	p.113 (p.135)	10	24	2030
Hydrogen-Energy	investment	84	$/kW	25	Rectifier	p.113 (p.135)	10	24	2030
Hydrogen-Energy	investment	1.06	$/kW	25	Controll and Communication	p.113 (p.135)	10	24	2030
Hydrogen-Power	investment	16.3	$/kW	25	Grid integration	p.113 (p.135)	10	24	2030
Hydrogen-Energy	FOM	0.023048	$/kWh	25	derived	0.43 % of SB, =(C38+C39)*0.43/4	10	24	2030
Hydrogen-Power	FOM	4.9405	$/kW	25	derived	30% assumed of power components every 10 years, =(C45+C41+C40)*0.3+1.94	10	24	2030
Hydrogen-Energy	decommissioning	19.77	$/kWh	25		p.113 (p.135)	10	24	2030
Hydrogen-Power	efficiency	0.806225774829855		25	AC-AC efficiency at transformer level, 0.8452^0.5	p.113 (p.135)	10	24	2030
Hydrogen-Power	lifetime	12		25		p.113 (p.135)	10	24	2030
Hydrogen-Energy	lifetime	12		25		p.113 (p.135)	10	24	2030
Hydrogen-Energy	investment	157.79	$/kWh	25	DC storage block	p.113 (p.135)	10	24	2021
Hydrogen-Energy	investment	28.35	$/kWh	25	DC storage BOS	p.113 (p.135)	10	24	2021
Hydrogen-Power	investment	117.65	$/kW	25	Power Equipment	p.113 (p.135)	10	24	2021
Hydrogen-Power	investment	5.82	$/kW	25	Controll and Communication	p.113 (p.135)	10	24	2021
Hydrogen-Energy	investment	29.72	$/kWh	25	System integration	p.113 (p.135)	10	24	2021
Hydrogen-Energy	investment	34.2	$/kWh	25	EPC	p.113 (p.135)	10	24	2021
Hydrogen-Energy	investment	39.33	$/kWh	25	Project Development	p.113 (p.135)	10	24	2021
Hydrogen-Power	investment	21.21	$/kW	25	Grid integration	p.113 (p.135)	10	24	2021
Hydrogen-Energy	FOM	0.505895	$/kWh	25	derived	0.43 % of SB	10	24	2021
Hydrogen-Power	FOM	36.095402	$/kW	25	derived	30% assumed of power components every 10 years	10	24	2021
Hydrogen-Energy	decommissioning	19.77	$/kWh	25		p.113 (p.135)	10	24	2021
Hydrogen-Power	efficiency	0.806225774829855		25	AC-AC efficiency at transformer level, 0.8452^0.5	p.113 (p.135)	10	24	2021
Hydrogen-Power	lifetime	12		25		p.113 (p.135)	10	24	2021
Hydrogen-Energy	lifetime	12		25		p.113 (p.135)	10	24	2021